## Sheet1
Note: Desktop Analysis of all NCC Properties identified 2 properties where RAAC Panels could be present. Properties were subsequently inspected.
Site | Postcode | Addess | inspected | RAAC Present Yes/No | Action
Beeston Youth & Community Centre | NG9 1GL | West End, Beeston, Nottingham, Nottinghamshire | Yes | No | None Required
St Michaels View Elderly peoples home ( boiler House) | DN22 7NE | Hallcroft Road, Retford, Nottingham, Nottinghamshire | Yes | No | None Required